## Cost assumptions
Electricity dispatch model assumptions
VRE
CAPEX
| [€/kW] | Lifetime [y] |  | Source
Wind onshore | 1100 | 25 |  | DNV GL for WindEurope, 2018, "Wind Energy and the Electrification of Europe’s Energy System"
Wind offshore | 2000 | 25 |  | DNV GL for WindEurope, 2018, "Wind Energy and the Electrification of Europe’s Energy System"
Solar | 560 | 25 |  | DNV GL for WindEurope, 2018, "Wind Energy and the Electrification of Europe’s Energy System"
Domestic PV | 881.1189 | 25 |  | Brattle Group, 2015, "Comparative Generation Costs of UtilityScale and Residential-Scale PV in Xcel Energy Colorado’s Service Area"
OPEX
| [€/MWh] |  |  | Source
Wind onshore | 16.0902 |  |  | Cambridge Econometrics, 2018
Wind offshore | 30.6015 |  |  | Cambridge Econometrics, 2018
Solar | 17.1429 |  |  | Cambridge Econometrics, 2018
Domestic PV | 26.973 |  |  | Brattle Group, 2015, Comparative Generation Costs of UtilityScale and Residential-Scale PV in Xcel Energy Colorado’s Service Area
Wind mix
| Value |  |  | Source
Offshore/onshore breakdown | Depending on country |  |  | ENTSO-E, TYNDP 2018, GCA 2040 scenario
Dispatchable generation
CAPEX
| [€/kW] | Lifetime (y)
Biomass solid | 2661 | 20 |  | IRENA, 2017, "Renewable Power Generation Costs in 2017"
Hydrogen gas turbine | 450 | 30 |  | Fraunhofer ISI, 2017, "Langfrist- und Klimaszenarien", for BMWi
Interconnector 1) | 500 | 25 |  | Centre on Regulation in Europe, 2017, "Brexit and its implications for British and EU Energy and Climate Policy"
Nuclear | 5000 | 60 |  | World Nuclear Association, 2017, "Nuclear Power Economics and Project Structuring"
Hydro | 1361.545 | 25 |  | IRENA, 2017, "Renewable Power Generation Costs in 2017"
1) Assuming an average length of 200km for interconnnectors
OPEX
| [€/MWh] |  |  | Source
Biomass solid | 26.0963 |  |  | IRENA, 2012, "Renewable Energy Cost Analysis - Biomass for Power Generation"; IRENA 2017, "Renewable Power Generation Costs in 2017"
Hydrogen gas turbine | 2.7 |  |  | Fraunhofer ISI, 2017, "Langfrist- und Klimaszenarien", for BMWi
Interconnector | 55 |  |  | Assuming 85% of imports are generated by wind and solar, 15% by hydrogen gas turbines
Nuclear | 5.9961 |  |  | Nuclear Energy Institute, 2016, "Nuclear Costs in Context"
Hydro | 0.002661 |  |  | IRENA, 2017, "Renewable Power Generation Costs in 2017"
Cost of imported hydrogen | 50 |  |  | Agora, 2017, "The Future Cost of Electricity-Based Synthetic Fuels"
Infrastructure
CAPEX
| Unit | CAPEX | Lifetime | Source
Lithium-ion battery pack (>60kWh) | €/kWh | 47 | 10 | EE 2018, Second Life of Batteries, for T&E; not published yet; analysis based on Bloomberg 2018 forecast
Lithium-ion battery pack (<15kWh) | €/kWh | 99 | 10 | EE 2018, Second Life of Batteries, for T&E; not published yet; analysis based on Bloomberg 2018 forecast
Utility scale battery storage | €/kWh | 117.5 | 10 | IRENA, 2017 "Electricity storage and renewables: Costs and markets to 2030"; NREL 2017, "Life Prediction Model for GridConnected Li-ion Battery Energy Storage System"
Domestic battery storage | €/kWh | 198 | 10 | EE analysis based on Bloomberg 2018 forecast and IRENA, 2017 "Electricity storage and renewables: Costs and markets to 2030";
Thermal storage | €/kWh | 50 | 20 | IRENA, 2013, "Thermal Energy Storage Technology Brief" (cited by BEIS, 2016, "Evidence Gathering: Thermal Energy Storage (TES Technologies")
Hydrogen storage: gas storage | €/kWh | 0.59 | 40 | EE 2018, "Cost analysis of future heat infrastructure", for NIC
Hydrogen storage: compression and flow control 1) | €/kW | 35.4 | 40 | EE 2018, "Cost analysis of future heat infrastructure", for NIC
Electrolyser | €/kW | 750 | 20 | Imperial College, 2017, "Future cost and performance of water electrolysis: An expert elicitation study"
Electricity transmission and distribution | €/kW | 1847.0945 | 40 | EE analysis based on EU Com, 2016, "Energy prices and costs in Europe"
Gas transmission 2) | €/MWh | 5.9943 | 40 | EE 2018, "Cost analysis of future heat infrastructure", for NIC
Gas distribution 3) | €/household | 3000 | 40 | EE 2018, "Hydrogen supply chain technical evidence and modelling tool", for BEIS
Methanation | €/kW_methane | 500 | 20 | Agora, 2017, "The Future Cost of Electricity-Based Synthetic Fuels"
Direct air capture | €/(tCO2/y) | 615.578 | 20 | Harvard University, 2018, "A Process for Capturing CO2 from the Atmosphere"
V2G charger premium | €/kW | 150 | 10 | EE 2018, "Fuelling Europe's Future II", based on interviews with charging providers
1) Cost per kW of peak charge/discharge
2) Annual cost per MWh of gas demand
3) Grid conversion from Natural Gas to Hydrogen
OPEX
| Unit | Value |  | Source
Hydrogen storage: gas storage | €/kWh/y | 0.0295 |  | EE 2018, "Cost analysis of future heat infrastructure, for NIC"
Hydrogen storage: compression and flow control | €/kW/y | 1.652 |  | EE 2018, "Cost analysis of future heat infrastructure, for NIC"
Electricity transmission and distribution | €/kW/y | 92.3547 |  | EE analysis based on EU Com, 2016, "Energy prices and costs in Europe"
Gas Distribution 1)
BG | €bn/y | 0.13316 |  | EU Com 2014 "Energy prices and costs in Europe"; EEA 2015, "Final energy consumption by sector and fuel"; EE analysis
DE | €bn/y | 3.6002 |  | EU Com 2014 "Energy prices and costs in Europe"; EEA 2015, "Final energy consumption by sector and fuel"; EE analysis
ES | €bn/y | 1.2329 |  | EU Com 2014 "Energy prices and costs in Europe"; EEA 2015, "Final energy consumption by sector and fuel"; EE analysis
FR | €bn/y | 1.8889 |  | EU Com 2014 "Energy prices and costs in Europe"; EEA 2015, "Final energy consumption by sector and fuel"; EE analysis
HU | €bn/y | 0.39454 |  | EU Com 2014 "Energy prices and costs in Europe"; EEA 2015, "Final energy consumption by sector and fuel"; EE analysis
PL | €bn/y | 0.77428 |  | EU Com 2014 "Energy prices and costs in Europe"; EEA 2015, "Final energy consumption by sector and fuel"; EE analysis
EV smart charging infrastructure | €/EV/y | 16.7832 |  | EE and Grid Scientific 2011, "Infrastructure in a low-carbon energy system to 2030: Demand side response"
1) OPEX costs for gas distribution assumed for SNG and H2 are assumed to be the same
Operational data
| Unit | Value |  | Source
Electrolyser efficiency | % | 70% |  | FCH JU, 2014, "Development of Water Electrolysis in the European Union"
Cost of decomissioning the gas grid in the UK
Quantity | Unit | Value |  | Source
Total cost | €b | 9.7912 |  | KPMG, 2016, "2050 Energy Scenarios - The UK Gas Networks role in a 2050 whole energy system", for ENA
Nr of households | million | 32 |  | KPMG, 2016, "2050 Energy Scenarios - The UK Gas Networks role in a 2050 whole energy system", for ENA
Cost per household | €/household | 305.975 |  | KPMG, 2016, "2050 Energy Scenarios - The UK Gas Networks role in a 2050 whole energy system", for ENA
Heat model assumptions
Heating technology
| CAPEX |  | OPEX
| Unit | Value | % of CAPEX
Air sourced heat pump | €/kW_th | 956 | 3.5% | Fraunhofer ISE, 2013, "Was kostet die Energiewende"
Ground sourced heat pump | €/kW_th | 1232 | 3.5% | Fraunhofer ISE, 2013, "Was kostet die Energiewende"
Direct eletric heating | €/kW_th | 196 | 0.5% | Poyry, 2009, "The potential and costs of district heating networks"
Biomass | €/kW_th | 630.4 | 3% | Fraunhofer ISE, 2013, "Was kostet die Energiewende"
Hydrogen boiler | €/kW_th | 175 | 2% | Fraunhofer ISE, 2013, "Was kostet die Energiewende"
District heat infrastructure
CAPEX
| Unit | Value
Network and storage 1) | €/household | 8271 |  | Aalbourg University, 2016, "Energy Plan", Fraunhofer ISE, 2013, "Was kostet die Energiewende"
Heat generation 2) | €/kW_th | 781 |  | Fraunhofer ISE, 2013, "Was kostet die Energiewende"
Equipment in homes 3) | €/household | 2280 |  | EE 2018, "Cost analysis of future heat infrastructure", for NIC
1) Transmission, distribution, service pipes, heat storage
2) Large scale ground source heat pump
3) Heat interface unit and heat meter
Energy Efficiency
CAPEX
| Unit | Value
Cost of efficiency upgrade per sqm of dwelling
shallow | €/m2 | 39 |  | BPIE, 2011, "Europe's buildings under the microscope" (2011)
medium | €/m2 | 65 |  | BPIE, 2011, "Europe's buildings under the microscope" (2011)
deep | €/m2 | 101 |  | BPIE, 2011, "Europe's buildings under the microscope" (2011)
nearly zero energy building | €/m2 | 119 |  | BPIE, 2011, "Europe's buildings under the microscope" (2011)